Cornerstone Electronics Technology and Robotics I Week 18
Electrical Relay Tutorial
· Administration:

· Prayer

· Turn in quiz

· Review voltage regulators:

[image: image1.jpg]IN O’

GND
78L05 C1
-ru Tuf

O

+5V

O




· Review SPST, SPDT, DPST, DPDT switches  http://www.cornerstonerobotics.org/curriculum/lessons_year1/ER%20Week7,%20Switches,%20Fuses.pdf
· Electricity and Electronics, Section 9.3, Relays:
· Introduction:  In many cases, it is impractical to use a manual switch in a circuit.  For instance, you would not want to wait for the temperature in your house to rise above a certain level and then manually turn the air conditioning by throwing a manual switch.  An automatic switching device would better serve the purpose.
· General:  A relay is a device that is used to control a large voltage, large current circuit by means of a low voltage, low current circuit.  A relay is a magnetized switch that uses a mechanical lever to separate two interactive circuits.
· Major Parts:

· Coil which serves as an electromagnet

· Armature – the lever arm

· Contact points
[image: image2.jpg]Fig. 1

pivat

spring

Sorew

{c) Tony van Fioon

Hlexible
contact

el

frame

=)

insulator





From http://www.uoguelph.ca/~antoon/gadgets/relays/relays.html
· Action:  When the control circuit of a relay magnetizes the coil, the coil’s attraction force pulls a lever arm called an armature toward the coil.  This action turns the secondary circuit on and off. See Figures 2 and 3.
[image: image3.jpg]



   [image: image4.jpg]






Figure 2





Figure 3
With S1 open, the relay coil is not energized 
S1 is closed and the relay coil is      the relay switch remains open.


energized. This causes switch in the 







relay K1 to close, turning on a 








secondary circuit.
· The two different voltages can be connected mechanically by a relay.  They are not connected electrically.

· Schematic Symbols:

                     [image: image5.jpg]


                                 [image: image6.jpg]


   



    SPST Relay



         SPDT Relay
                   [image: image7.jpg]


                       [image: image8.jpg]




    DPST Relay



       DPDT Relay
· Show samples
· Perform Electrical Relay Lab 1 – Voltage Separation
· Normally Open (NO) and Normally Closed (NC) Relays:

· NO/NC relays are similar to NO/NC switches

· NO relays are open when the relay is de-energized.

· NC relays are closed when the relay is de-energized.

· SPDT & DPDT relays have NO & NC simultaneously

· See:  http://tams-www.informatik.uni-hamburg.de/applets/hades/webdemos/05-switched/20-relays/relay.html
· Just as a SPDT switch can act as a SPST switch, a SPDT relay can serve as a SPST relay by not making connection to one of the contacts.
· Advantages:
· An electrical equipment operator is exposed to lower, safer control voltages rather than high equipment voltages.

· Equipment can be controlled from remote locations.
· Smaller wires can be run from the control room to the equipment.

· Relays can have very rapid switching action.

· Notes:

· The voltage across the relay coil should be within 25% of the relay specification.
· If current flow through a relay coil is suddenly interrupted, the coil will produce a very large voltage across its leads. Get rid of large voltage spikes with a transient suppressor.
[image: image9.jpg]10D Keoay

YOOVNL
1«
Nia

st
DC

+




Transient Suppressor for a DC Driven Relay Coil

· Perform Electrical Relay Lab 2 – Relay Application 1

· Reed Relays:

· External permanent magnet or electromagnet
· Buzzers:

· Demonstrate an AC buzzer using a function generator.
· Perform Electrical Relay Lab 3 – Relay as a Buzzer

· Magnetic Circuit Breakers:

· Operation:  Once a fault is detected, contacts within the circuit breaker must open to interrupt the circuit; some mechanically stored energy within the breaker is used to separate the contacts.  The stored energy may be in the form of springs.
· Show samples.
· Magnetic Shields:
· Magnetic shields prevent magnetic fields from interfering with electrical circuits.

· The magnetic lines of force follow the path of least resistance.

· Other paths of least resistance:

· Electrical circuits and current

· Interstate highways and motor traffic

· Technology and work
· Flood waters and drainage
· Perform Electrical Relay Lab 4 – Relay Application 2
Electronics Technology and Robotics I Week 18
Electrical Relay LAB 1 – Voltage Separation
· Purpose:  The purpose of this lab is to demonstrate that the voltage source which controls a relay coil can be separate from the voltage source that controls the secondary circuit. 
· Apparatus and Materials:
· 1 – Breadboard with a +5 V and +9 V Power Supplies
· 1 – 1N4004 Diode

· 1 – SPST Relay (Digikey # Z945-ND) http://search.digikey.com/scripts/DkSearch/dksus.dll?Detail?name=Z945-ND
· 1 – SPST Switch
· 1 – 1K Resistor

· 1 – LED 

· Procedure:
· Build Relay Circuit 1 on your breadboard.  The circuit uses a voltage source of +5 V to energize the relay coil and a separate a voltage source of +9 V to power the LED circuit.

· Notice that the two circuits in Relay Circuit 1 are not connected electrically.  Their interaction is by the coil generating a magnetic field which closes the contacts (switch) in the relay.

            [image: image10.jpg]K1 (2945-ND Bottom View)




                        [image: image11.jpg]> 1g31

e®|,§|v.|_l\|__,

+S5V
®
13





          SPST Relay Wiring Diagram
                       Relay Circuit 1
· Results:
[image: image12.jpg]Position of Switch

LED Response

S1 Open

S1 Closed





· Conclusions:

· The data sheet for the relay states, “When mounting two or more relays side by side, provide a minimum space of 3 mm between relays.”  Why?
Electronics Technology and Robotics I Week 18

Electrical Relay LAB 2 – Relay Application 1
· Purpose:  The purpose of this lab is to demonstrate an application of a relay.
· Apparatus and Materials:
· 1 – Breadboard with a +9 V Power Supply

· 1 – 1 K Tripot

· 1 – Photoresistor 

· 1 – 4.7 K Resistor

· 1 – 1 K Resistor

· 1 – 2N2222A NPN Transistor

· 1 – 1N4004 Diode

· 1 – SPST Relay (Digikey # Z945-ND) http://search.digikey.com/scripts/DkSearch/dksus.dll?Detail?name=Z945-ND
· Procedure:
· Wire the following light activated relay circuit:

     [image: image13.jpg]K1 (2945-ND Bottom View)






    [image: image14.jpg]&
Pavas

+9V
]

2N2222A

Q1

% ll00j0ud ALY
MW MW

i & gl
%)




      SPST Relay Wiring Diagram 
         Light Activated Relay Circuit

Electronics Technology and Robotics I Week 18

Electrical Relay LAB 3 – Relay as a Buzzer (Oscillator)
· Purpose:  The purpose of this lab is to demonstrate that a relay can act as a buzzer (oscillator).  Also the student must design and build a relay circuit.
· Apparatus and Materials:
· 1 – Breadboard with +12 V Power Supply

· 1 – SPST Switch
· 1 – 1N4001 Diode

· 1 – 470 uF Capacitor

· 1 – DPDT Relay (Digikey # 255-1002-5-ND) http://search.digikey.com/scripts/DkSearch/dksus.dll?vendor=0&keywords=255-1002-5-nd
· Procedure:
· Wire a DPDT relay to become a buzzer using the following circuit.  Note that Pin 1 on the relay coil is the positive connection.  Also note that Pin 10 is not connected directly to ground but to Pin 8.  Close the switch for only a short period of time since the buzzing action will create excessive wear on the relay contacts.  Complete the explanation in the conclusions.
[image: image15.jpg]255-1002-5-ND Top View (12V)



 

    [image: image16.jpg]+12v

(]

oee 1031





DPDT Relay Wiring Diagram               
      Relay Buzzer Circuit
· Now add a capacitor to the circuit as shown in the following schematic.

[image: image17.jpg]+12v

K1

oee 1031

%]

@

1
4
10

lc1
470 uF

=

LOOVNL |y

g~

S




· Conclusions:

· Explain the electrical process that makes the relay turns on and off creating the sound of a buzzer.
Electronics Technology and Robotics I Week 18

Electrical Relay LAB 4 – Relay Application 2

· Purpose:  The purpose of this lab is to demonstrate another application of a relay.
· Apparatus and Materials:
· 1 – Breadboard with a +9 V Power Supply

· 1 – 741 Op Amp

· 1 – 10 K Thermistor
· 1 – 10 K Resistor

· 1 – 50 K Tripot

· 1 – 470 K Resistor

· 1 - LED

· 1 – 2N2222A NPN Transistor

· 1 – 1N4004 Diode

· 1 – SPST Relay (Digikey # Z945-ND) http://search.digikey.com/scripts/DkSearch/dksus.dll?Detail?name=Z945-ND
· Procedure:
· Build the temperature activated relay below:

[image: image18.jpg]+oV

\\\\\ a0 had

—
g
g
8
52
o YOOPNL
q
Yy
©
=
<
~ ~ «
@ - =
(2]
©
%08
2y

JolswByL Y 0L Nob

W MW

'Y A





Temperature Activated Relay Circuit
[image: image19.jpg]K1 (2945-ND Bottom View)





SPST Relay Wiring Diagram 
